## #Table 1 - Ex of mult sero detr
Tables
Table 1. Theoretical examples of multiple serotype determination based upon DNA colony forming units (CFU/ml) values using lytA and serotype specific quantitative PCR assays.
Sample Number | lytA DNA (CFU/ml) | 9V/A DNA (CFU/ml) | Conclusion
1 | 2340000 | 1980000 | 9V/A serotype only
2 | 5670000 | 230000 | Multiple serotypes (including 9V/A)
3 | 823000 | 0 | No 9V/A DNA present (other serotype present)
4 | 0 | 0 | No S. pneumo DNA present

## #Table 2 - Multplex runs
Table 2. Primer Concentration for Multiplex PCR assays (1 of 2)
Reaction | Primer (Primer ID) | Primer Conc. (μM)a
1 | CPSA-F (913424) | 0.1
| CPSA-R (913425) | 0.1
| 14-F (914845) | 0.3
| 14-R (914846) | 0.3
| 6A/B/C-F (914837) | 0.3
| 6A/B/C-R (914838) | 0.3
| 23F-F (905349) | 0.5
| 23F-R (905350) | 0.5
| 19A-F (914855) | 0.3
| 19A-R (914856) | 0.3
| 9V/9A-F (913426) | 0.5
| 9V/9A-R (913427) | 0.5
2 | CPSA-F | 0.1
| CPSA-R | 0.1
| 19F-F (903759) | 0.5
| 19F-R (903760) | 0.5
| 3-F (914831) | 0.3
| 3-R (914832) | 0.3
| 15B/15C-F (914849) | 0.3
| 15B/15C-R (914850) | 0.3
| 18/(18A/18B/18C)-F (914853) | 0.3
| 18/(18A/18B/18C)-R (914854) | 0.3
| 17F-F (903755) | 0.5
| 17F-R (903756) | 0.5
3 | CPSA-F (913424) | 0.1
| CPSA-R (913425) | 0.1
| 1-F (914827) | 0.3
| 1-R (914828) | 0.3
| 5-F (914835) | 0.3
| 5-R (914836) | 0.3
| 9N/9L-F (906187) | 0.5
| 9N/9L-R (906188) | 0.5
| 7F/7A-F (918151) | 0.4
| 7F/7A-R (918152) | 0.4
| 16F-F (918138) | 0.4
| 16F-R (918139) | 0.4
4 | CPSA-F (913424) | 0.1
| CPSA-R (913425) | 0.1
| 8-F (911983) | 0.2
| 8-R (911984) | 0.2
| 2-F (914829) | 0.3
| 2-R (914830) | 0.3
| 4-F (914833) | 0.3
| 4-R (914834) | 0.3
| 20-F (903761) | 0.3
| 20-R (903762) | 0.3
| 22F/22A-F (903763) | 0.5
| 22F/22A-R (903764) | 0.5
aFinal concentration in reaction mixture for each primer.

## #Table 2 - Multplex runs (2)
Table 2. Primer Concentration for Multiplex PCR assays (2 of 2)
Reaction | Primer (Primer ID) | Primer Conc. (μM)a
5 | CPSA-F (913424) | 0.1
| CPSA-R (913425) | 0.1
| 7C/7B/40-F (807802) | 0.3
| 7C/7B/40-R (807803) | 0.3
| 12F/(12A/44/46)-F (914843) | 0.5
| 12F/(12A/44/46)-R (914844) | 0.5
| 11A/11D-F (914841) | 0.3
| 11A/11D-R (914842) | 0.3
| 10A-F (906191) | 0.5
| 10A-R (906192) | 0.5
| 23A-F (903765) | 0.5
| 23A-R (903766) | 0.5
6 | CPSA-F (913424) | 0.1
| CPSA-R (913425) | 0.1
| 21-F (914857) | 0.2
| 21-R (914829) | 0.2
| 33F/33A/37-F (807842) | 0.3
| 33F/33A/37-R (807843) | 0.3
| 15A/15F-F (914847) | 0.3
| 15A/15F-R (914848) | 0.3
| 35F/47F-F (807848) | 0.3
| 35F/47-R (807849) | 0.3
| 13-F (911987) | 0.4
| 13-R (911988) | 0.4
7 | 39-F (911999) | 0.2
| 39-R (912000) | 0.2
| CPSA-F (913424) | 0.1
| CPSA-R (913425) | 0.1
| 23B-F (914859) | 0.2
| 23B-R (914860) | 0.2
| 35A/35C/42-F (911997) | 0.3
| 35A/35C/42-R (911998) | 0.3
| 38/25F-F (807850) | 0.3
| 38/25F-R (804851) | 0.3
| 35B-F (914863) | 0.5
| 35B-R (918606) | 0.5
8 | 24(24A/24B/24F)-F (911995) | 0.2
| 24(24A/24B/24F)-R (911996) | 0.2
| CPSA-F (913424) | 0.1
| CPSA-R (913425) | 0.1
| 10F/10C/33C-F (911985) | 0.3
| 10F/10C/33C-R (911986) | 0.3
| 34-F (807844) | 0.3
| 34-R (807845) | 0.3
| 31-F (906193) | 0.5
| 31-R (906194) | 0.5
aFinal concentration in reaction mixture for each primer.

## #Tbl 3. Original Multiplex
Table 3. Serotypes of S. pneumoniae Isolates Identified by Multiplex PCR.
Isolate | Distribution of Serotypes in | % | Distribution of Samples | %
Serotype(s) | Culture Positive Samples (n)a |  | Analyzed by qPCR (n)
15B/C | 23 | 7.3955 | 23 | 15.44
19A | 13 | 4.1801 | 14 | 9.4
19F | 19 | 6.1093 | 12 | 8.05
23F | 27 | 8.6817 | 43 | 28.86
6A/B/C | 64 | 20.5788 | 45 | 30.2
9V/A | 9 | 2.8939 | 9 | 6.04
18A/B/C | 8 | 2.5723 | - | -
4 | 6 | 1.9293 | - | -
6A/B/C & 19F | - | - | 3 | 2.01
Other Serotypes | 94 | 30.2251 | - | -
NT by multiplex PCR | 48 | 15.4341 | - | -
Total | 311 | 100 | 149 | 100
aOut of the first 500 nasopharyngeal samples from healthy children from Peru.

## #Tbl 4. qPCR Summary
Table 4. Quantification of S. pneumoniae serotypes by Quantitative PCR in Nasopharyngeal Samples
n=135a
Serotype(s) | Distribution (n) | % | Mean lytA DNA (CFU/ml) | lytA DNA Std dev (CFU/ml) | ltyA Min (CFU/ml) | lytA Max (CFU/ml) | Mean DNA Difference (CFU/ml)b, c | % Difference d | Difference Std dev (CFU/ml)b | Diff Min (CFU/ml) | Diff Max (CFU/ml) | Mean Difference 95% CI L.B.* | Mean Difference 95% CI U.B.*
15B/C | 19 | 14.07 | 810368.299 | 1121559.98 | 8232.65 | 5005238.77 | 231928.334 | 28.62% | 580381.553 | 2191.01 | 2554544 | -29043.0394 | 492899.7074
19A | 13 | 9.63 | 1823564.6 | 3682905.3 | 7640.81 | 11768873 | -738361 | -40.49% | 1032607.85 | -3155057.86 | 15025.35 | -1299693.0215 | -177028.9785
19F | 11 | 8.15 | 4116582.72 | 4321368 | 247860 | 13179200 | -2817882.8 | -68.45% | 4658684.46 | -12181065 | 2680586 | -5570989.3824 | -64776.2176
23F | 37 | 27.41 | 5690241.76 | 6304124.81 | 127503 | 29703341 | 4442511.66 | 78.07% | 5841315.79 | -1447315 | 26290244 | 2560311.1152 | 6324712.2048
6A/B | 42 | 31.11 | 3387705.79 | 4781584.47 | 22953.4 | 18301587.5 | 716227.381 | 21.14% | 1131208.31 | -593502.07 | 4626613.19 | 374110.8868 | 1058343.8752
9V/A | 7 | 5.19 | 2658561.48 | 4402577.85 | 57236.4 | 11967240.2 | 2746.1603 | 0.1033% | 481976.196 | -526354.4 | 1022809.9 | -354306.8024 | 359799.123
6A/B & 19F | 2 | 1.48 | 4136077.73 | 845589.79 | 4734000 | 3538160 | 3762382.22 | 90.96% | 1017305.95 | 3043040 | 4481730 | 2352468.1059 | 5172296.3341
6A/B & 15B/C | 2 | 1.48 | 12982906.5 | 14584011.4 | 2670450 | 23295360 | 6147782.12 | 47.35% | 6241321.25 | 1734500 | 10561060 | -2502247.8157 | 14797812.0557
6A/B & 19A | 1 | 0.74 | 136285.261 | - | 136285.261 | 136285.261 | 115631.606 | 84.85% | - | 115631.606 | 115631.606 | - | -
9V/A & 6A/B | 1 | 0.74 | 7540678.64 | - | 7540678.64 | 7540678.64 | 523502.116 | 6.942% | - | 523502.116 | 523502.116 | - | -
Total | 135 | 100 | 3686912.58 | 5208133.38 | 7640.81 | 29703340.78 | 1324032.64 | 35.91% | 4118440.9 | -12181064.6 | 26290200 | 629293.0863 | 2018772.1937
aThere were 14 missing results due to no detectable serotype-specific DNA
bDifference when serotype-specific DNA amount is subtracted from total lytA DNA amount (allowing for negative values).
cNegative values indicate that serotype-specific amount of DNA is higher that the lytA DNA for all serotypes
dPercentage of difference between lytA DNA and serotype-specific DNA out of the total lytA DNA amount.
*Grey shaded cells indicate significant differences between total lytA DNA amount and serotype-DNA amount.

## #Table 5 - Multiple sero data
Table 5. Quantitative PCR Summary for Samples with Suspected Multiple Serotypes of the 6 Most Prevalent Serotypes in Peru.
NP Sample Number | Serotype# | S. pneumoniae (lytA) a,* | 6A/B* | 19F* | 23F* | 9V/A* | 15B/C* | 19A* | Serotypes detected by qPCRb | Serotypes detected by multiplex PCRc | Difference between LytA DNA and first serotype specific run* | % Difference between lytA DNA and Serotype-Specific DNA (1st run)
11 | 6A/B/C, 19F | 6600000 | 252000 | 6160000 | - | - | - | - | 6A/B & 19F | 19F | 6348000 | 96.1818
28 | 19F | 1810000 | - | 35400 | - | - | - | - | 19F | 17F, 4, 31 | 1774600 | 98.0442
45 | 15B | 12400000 | 1900000 | - | - | - | 936000 | - | 6A/B & 15B | 6A/B/C, 15B/C, 13 | 11464000 | 92.4516
156 | 6A/B/C | 81500 | 16700 | - | - | - | - | - | 6A/B | 15A/F, 10F/C/33C | 64800 | 79.5092
206 | 6A/B/C, 19F | 4400000 | 495000 | 3140000 | - | - | - | - | 6A/B & 19F | 6A/B/C, 19F, 13, 31 | 3905000 | 88.75
207 | 6A/B/C | 1630000 | 170000 | - | - | - | - | - | 6A/B | 6A/B/C, 13 | 1460000 | 89.5706
229 | 15B | 373000 | - | - | - | - | 72100 | - | 15B | 15B/C, 22F/A | 300900 | 80.6702
268 | 6A/B/C | 717000 | 224000 | - | - | - | - | - | 6A/B | 6A/B/C | 493000 | 68.7587
282 | 19A | 386000 | 300000 | - | - | - | - | 20700 | 6A/B & 19A | 6A/B/C | 365300 | 94.6373
284 | 19A | 46100 | - | - | - | - | - | 6980 | 19A | 22F/A, 35F/47F | 39120 | 84.859
288 | 6A/B/C | 945000 | 237000 | - | - | - | - | - | 6A/B | 6A/B/C, 10F/10C/33C | 708000 | 74.9206
292 | 6A/B/C | 197000 | 39600 | - | - | - | - | - | 6A/B | 6A/B/C, 15B/C, 23A | 157400 | 79.8985
311 | 6A/B/C | 550000 | 63300 | - | - | - | - | - | 6A/B | 6A/B/C | 486700 | 88.4909
429 | 15B | 4980000 | - | - | - | - | 617000 | - | 15B | Negative | 4363000 | 87.6104
469 | 15B | 406000 | - | - | - | - | 82100 | - | 15B | 15B/C | 323900 | 79.7783
Averages of Non-controls (n=15) | - | 2368106.6667 | 369760 | 3111800 | - | - | 426800 | 13840 | - | - | - | 85.6088
#Molecular serotype of S. pneumoniae strain isolated from NP swabs.
*CFU/ml quantified by qPCR assays.
aMean lytA DNA amount for each sample over all lytA runs for that sample.
bSerotypes detected in NP swabs using qPCR assays targeting serotypes 6A/B, 15B/C, 23F, 19F, 19A, and 9V/A.
cSerotypes detected by multiplex PCR using DNA extracted from enrichment broth.
Note: Values in grey are the serotype-specific DNA values from the first set of qPCR runs.

## #Table 6 -Control data
Table 6. Quantitative PCR Summary of Control Samples (Suspected Single Serotypes) of the 6 Most Prevalent Serotypes in Peru.
NP Sample Number | Serotype# | S. pneumoniae Run 1* (lytA) | S. pneumoniae Confirmatory Run* (lytA) | 6A/B* | 19F* | 23F* | 9V/A* | 15B/C* | 19A* | Log Difference in Run 1 (1=yes, 0=no) | Suspected qPCR results | THY Multiplex Results | Difference between Run 1 lytA DNA and Serotype-Specific DNA | % Difference between Run 1 lytA DNA and Serotype-Specific DNA
9 | 6A/B/C | 1420000 | - | 582000 | - | - | - | - | - | 6A/B/C | 6A/B | 6A/B/C | 838000 | 59.0141
10 | 6A/B/C | 12860151.1464 | - | 10513687.0079 | - | - | - | - | - | 0 | 6A/B | 6A/B/C | 2346464.1385 | 18.246
29 | 6A/B/C | 7003810.2526 | - | 7597312.3225 | - | - | - | - | - | 0 | 6A/B | 6A/B/C | -593502.0699 | -8.474
41 | 6A/B/C | 1892986.2937 | - | 1965032.4625 | - | - | - | - | - | 0 | 6A/B | 6A/B/C | -72046.1687 | -3.806
46 | 19F | 13179203.8061 | - | - | 25360268.4243 | - | - | - | - | 0 | 19F | 19F | -12181064.6181 | -92.4264
50 | 6A/B/C | 9454624.9918 | - | 8361172.593 | - | - | - | - | - | 0 | 6A/B | 6A/B/C | 1093452.3988 | 11.5653
52 | 6A/B/C | 2849404.474 | - | 2263718.3626 | - | - | - | - | - | 0 | 6A/B | 6A/B/C, 16F | 585686.1114 | 20.5547
60 | 6A/B/C | 7458211.6915 | - | 2831598.5053 | - | - | - | - | - | 0 | 6A/B | 6A/B/C | 4626613.1862 | 62.0338
65 | 19F | 5667033.0974 | - | - | 2986446.9095 | - | - | - | - | 0 | 19F | 19F, 11A | 2680586.1879 | 47.3014
74 | 6A/B/C | 18301587.5188 | - | 16558203.7826 | - | - | - | - | - | 0 | 6A/B | 6A/B/C | 1743383.7362 | 9.5259
75a | 15B | 5005238.7666 | 4948412.288 | - | - | - | - | 2450695.0586 | - | 0 | 15B | 6A/B/C, 15B/C | 2554543.708 | 51.0374
85 | 19A | 1128512.4912 | - | - | - | - | - | - | 1910881.2883 | 0 | 19A | 19A | -782368.797 | -69.3274
92a | 9V/A | 7540678.6435 | 5436442.128 | 1289242.769 | - | - | 7017176.5278 | - | - | 0 | 9V/A, 6A/B | 9V, 6A/B/C | 523502.1157 | 6.9424
94 | 19F | 1318027.9386 | - | - | 2253625.3838 | - | - | - | - | 0 | 19F | 19F | -935597.4452 | -70.9846
102 | 6A/B/C | 8107714.4752 | - | 6789912.658 | - | - | - | - | - | 0 | 6A/B | 6A/B/C | 1317801.8172 | 16.2537
106 | 19F | 2812303.9289 | - | - | 5464008.9146 | - | - | - | - | 0 | 19F | 19F | -2651704.9857 | -94.2894
109 | 6A/B/C | 15294421.362 | - | 14525265.1926 | - | - | - | - | - | 0 | 6A/B | 6A/B/C | 769156.1694 | 5.029
110 | 6A/B/C | 1079614.1966 | - | 1070512.3155 | - | - | - | - | - | 0 | 6A/B | 6A/B/C | 9101.8811 | 0.84307
134 | 19A | 8026827.1781 | - | - | - | - | - | - | 9439657.0752 | 0 | 19A | 19A, 7F | -1412829.8971 | -17.6013
136 | 6A/B/C | 1958461.4023 | - | 1989850.6722 | - | - | - | - | - | 0 | 6A/B | 6A/B/C | -31389.2699 | -1.6028
173 | 6A/B/C | 3735083.0866 | - | 1285461.6091 | - | - | - | - | - | 0 | 6A/B | 6A/B/C | 2449621.4776 | 65.5841
190a | 6A/B/C | 23295359.8434 | 5821235.8985 | 12734297.1434 | - | - | - | 198627.4368 | - | 0 | 6A/B, 15B/C | 6A/B/C, 15B/C, 35F | 10561062.7 | 45.3355
192 | 6A/B/C | 6817146.0923 | - | 6340473.3769 | - | - | - | - | - | 0 | 6A/B | 6A/B/C | 476672.7154 | 6.9923
212 | 19F | 5295854.6295 | - | - | 10975098.5352 | - | - | - | - | 0 | 19F | 19F | -5679243.9057 | -107.2394
218 | 19F | 2138529.7832 | - | - | 4029507.4195 | - | - | - | - | 0 | 19F | 19F | -1890977.6363 | -88.4242
236 | 6A/B/C | 1220876.2664 | - | 1340381.4568 | - | - | - | - | - | 0 | 6A/B | 6A/B/C | -119505.1904 | -9.7885
244 | 6A/B/C | 1166771.7126 | - | 1017827.6179 | - | - | - | - | - | 0 | 6A/B | 6A/B/C | 148944.0947 | 12.7655
249 | 6A/B/C | 787000 | - | 293000 | - | - | - | - | - | 6A/B/C | 6A/B | 6A/B/C | 494000 | 62.77
264 | 19A | 11768873.0974 | - | - | - | - | - | - | 14923930.9612 | 0 | 19A | 19A | -3155057.8638 | -26.8085
266a | 9V/A | 4590858.1679 | 4019379.9865 | - | - | - | 5117212.5212 | - | - | 0 | 9V/A | 9V/A, 6A/B/C | -526354.3533 | -11.4653
274 | 19F | 1352397.7726 | - | - | 2608502.9333 | - | - | - | - | 0 | 19F | 19F | -1256105.1607 | -92.8799
296 | 6A/B/C | 16057898.4841 | - | 11476184.1896 | - | - | - | - | - | 0 | 6A/B | 6A/B/C | 4581714.2945 | 28.5325
297 | 15B | 1414529.817 | - | - | - | - | - | 1046601.4514 | - | 0 | 15B | 15B/C | 367928.3656 | 26.0106
299 | 19F | 10948573.2046 | - | - | 20963627.4246 | - | - | - | - | 0 | 19F | 19F | -10015054.22 | -91.4736
335 | 6A/B/C | 1333720.0491 | - | 1161725.3252 | - | - | - | - | - | 0 | 6A/B | 6A/B/C | 171994.7239 | 12.8959
337 | 6A/B/C | 1631766.9631 | - | 1405085.4849 | - | - | - | - | - | 0 | 6A/B | 6A/B/C | 226681.4782 | 13.8918
341 | 6A/B/C | 7648997.0149 | - | 5857141.703 | - | - | - | - | - | 0 | 6A/B | 6A/B/C, 35A | 1791855.3119 | 23.426
343 | 15B | 1419132.4457 | - | - | - | - | - | 1200285.896 | - | 0 | 15B | 15B/C | 218846.5497 | 15.4212
371 | 9V/A | 11967240.2332 | - | - | - | - | 10944430.3632 | - | - | 0 | 9V/A | 9V/A | 1022809.87 | 8.5467
470 | 6A/B/C/19F | 3125264.7362 | - | 2828131.7105 | - | - | - | - | - | 0 | 6A/B | 6A/B/C | 297133.0257 | 9.5075
479 | 15B | 1253838.5676 | - | - | - | - | - | 1231851.3787 | - | 0 | 15B | 15B/C | 21987.1889 | 1.7536
491a | 19A | 1119342.8202 | 905530.2837 | - | - | - | - | - | 1840121.8359 | 0 | 19A | 19A, 6A/B/C | -720779.0157 | -64.3931
Average | - | 6010663.5344 | 4226200.1169 | 5086550.7609 | 9330135.7431 | - | 7692939.8041 | 1225612.2443 | 7028647.7901 | - | - | - | -2477.0798 | -4.9811
#Molecular serotype of S. pneumoniae strain isolated from NP swabs.
*CFU/ml quantified by qPCR assays.
aThese samples had a 2nd set of qPCRs run on them as the result of their THY Mulitplex results.
Note: Values shaded grey are the serotype-specific DNA values from the first set of qPCR runs. (for samples having more than one set of qPCR runs)
Note: Bolded samples were classified as non-controls, but did not meet cut-off of 2/3 (66.6%) between lytA and Ser-Spc DNA

## #Tbl 7. Multiplex PCR Summary
Table 7. Serotypes Identified using Multiplex PCR and DNA Extracted from THY Broth Samples
n=57a
Serotype(s) | Distribution (n) | % | Number of Serotypes
No Result | 1 | 1.75 | 0
15B/C | 4 | 7.02 | 1
19A | 2 | 3.51 | 1
19F | 8 | 14.04 | 1
6A/B/C | 23 | 40.35 | 1
9V/A | 1 | 1.75 | 1
15A/F, 10F/C/33C | 1 | 1.75 | 2
15B/C, 22F/A | 1 | 1.75 | 2
19A, 6A/B/C | 1 | 1.75 | 2
19A, 7F | 1 | 1.75 | 2
19F, 11A | 1 | 1.75 | 2
22F/A, 35F/47F | 1 | 1.75 | 2
6A/B/C, 10F/10C/33C | 1 | 1.75 | 2
6A/B/C, 13 | 1 | 1.75 | 2
6A/B/C, 15B/C | 1 | 1.75 | 2
6A/B/C, 16F | 1 | 1.75 | 2
6A/B/C, 35A | 1 | 1.75 | 2
9V/A, 6A/B/C | 2 | 3.51 | 2
17F, 4, 31 | 1 | 1.75 | 3
6A/B/C, 15B/C, 13 | 1 | 1.75 | 3
6A/B/C, 15B/C, 23A | 1 | 1.75 | 3
6A/B/C, 15B/C, 35F | 1 | 1.75 | 3
6A/B/C, 19F, 13, 31 | 1 | 1.75 | 4
aResults from 15 samples with >66% difference (in lytA DNA and serotype-specific DNA)
in qPCR results and set of 42 controls with < 66% difference.

## #Tbl 8. qPCR Multiple Ser Sums
Table 8. qPCR Results and Multiplex Results - Multiple Serotypes Findings
Single Colony |  | > 66% Difference* |  | Multiple Serotypes by THY Multiplex PCR? |  |  | Multiplex Multiple Serotype Samples have > 66% Difference?*
Multiplex Serotype(s) | Distribution (n) | Yes? (n) | (%) | Number of Samples Run | Yes? (n) | (%) | Yes? (n)a | (%) | Agreement (Cohen's Kappa Statistic)b
15B/C | 23 | 4 | 17.3913 | 8 | 3 | 37.5 | 2 | 66.6667 | 0.25
19A | 14 | 2 | 14.2857 | 6 | 3 | 50 | 1 | 33.3333 | 0
19F | 12 | 1 | 8.3333 | 9 | 2 | 22.2222 | 1 | 50 | 0.6087
23Fc | 43 | - | - | 0 | 0 | - | - | - | -
6A/B/C | 45 | 6 | 13.3333 | 28 | 7 | 25 | 4 | 57.1429 | 0.36364
6A/B/C & 19F | 3 | 2 | 66.6667 | 3 | 1 | 33.3333 | 1 | 100 | 0.4
9V/A | 9 | 0 | 0 | 3 | 2 | 66.6667 | 0 | 0 | 0
Total | 149 | 15 | 14.15d | 57 | 18 | 31.5789 | 9 | 50 | 0.29935
*>66% difference as defined as at least 2/3 difference between lytA DNA amount and Ser-Spc amount.
aSamples where multiple serotypes were found in THY Multiplex PCR and where there was a log difference between lytA DNA and serotype-specific DNA in qPCR.
bWhere Agreement is classified as: <0 as indicating no agreement, 0–0.20 as slight, 0.21–0.40 as fair, 0.41–0.60 as moderate, 0.61–0.80 as substantial, and 0.81–1 as almost perfect agreement.
Note: agreement is based solely on presence of multiple serotypes (not serotype identity).
c23F results were excluded due to abnormal chromatograms in majority of qPCR results
dPercentage calculated with the forty-three 23F samples deducted from the total number of samples run.

## #Tbl 9. Research Q1
Table 9. Chi-Square Analysis of < 66% Difference and Multiple Serotypes by THY Multiplex PCR
At least 66% Difference*
|  | No | Yes | Total
Multiple Serotypes? | No | 33 | 6 | 39
| Yes | 9 | 9 | 18
| Total | 42 | 15 | 57
| Statistic | DF | Value | Prob
| Chi-Square | 1 | 7.6104 | 0.0058
*As defined by having at least 66% difference
between lytA DNA and Ser-Spc DNA amounts

## #Tbl 10. Research Q2.1
Table 10. Analysis of Maximum Likelihood Estimates For:
A. Total DNA amount (Tot_lyt) (predictor) and Multiple Serotypes (VarA) (outcome)
Parameter | DF | Estimate | Standard Error | Wald Chi-Square | Pr > ChiSq
Intercept | 1 | 0.6532 | 0.3865 | 2.8568 | 0.091
Tot_lyt | 1 | 2.578e-06 | 5.77e-06 | 0.1995 | 0.6551
B. Total DNA amount (Tot_lyt) (predictor) and Number of Serotypes (VarF) (outcome)
Parameter | DF | Estimate | Standard Error | Wald Chi-Square | Pr > ChiSq
Intercept 0 | 1 | -4.068 | 1.0442 | 15.1781 | <.0001
Intercept 1 | 1 | 0.7332 | 0.3816 | 3.6917 | 0.0547
Intercept 2 | 1 | 2.3024 | 0.5311 | 18.7899 | <.0001
Intercept 3 | 1 | 3.9851 | 1.0392 | 14.7042 | 0.0001
Tot_lyt | 1 | 8.597e-07 | 5.4e-06 | 0.0253 | 0.8735

## #Tbl 11 Tot DNA in sing or mult
Table 11. Total lytA DNA Amount across Groups of Samples Either Containing Multiple Serotypes or a Single Serotype
Grouping | Distribution (n) | Mean lytA DNA | 95% lytA DNA CL Mean (CFU/ml) |  | Std Dev | Two-Sample T-test
|  | (CFU/ml) | (L.B.) | (U.B.) |  | p-valuea
Single Serotype | 39 | 4995311 | 3316409 | 6674213 | 5179198
Multiple Serotypes | 18 | 4334294 | 1631926 | 7036661 | 5434207
Difference (N-Y) |  | 661018 | -2342343 | 3664378 |  | 0.6609
aUsed pooled method as variances appeared to be equal according to the Folded F-test (p=0.7757).

## #Tbl 12 Level of Lyta and mult
Table 12. Multiple Serotypes and Level of Total lytA DNA
Grouping | Multiple Seroypes? |  | Total | Fisher Exact p-value
| No | Yes | (n=57)
< 1,000,000 (1.E+06) CFU/ml | 3 | 4 | 7 | 0.1908
> 1,000,000 (1.E+06) CFU/ml | 36 | 14 | 50
Total | 39 | 18 | 57
< 10,000,000 (1.E+07) CFU/ml | 31 | 17 | 48 | 0.2467
> 10,000,000 (1.E+07) CFU/ml | 8 | 1 | 9
Total | 39 | 18 | 57

## #Tbl 13 Research Q3
Table 13. Chi-Square Analyses of Sample Serotype and Presence of Multiple Serotypes
*A. Multiple serotypes as defined by qPCR (logdif)?;
Serotype 6A
Table of SixA by LogDif | [8 empty] | WILL NOT BE PRESENTED
SixA | LogDif(LogDif)
| 0 | 1 | Total
0 | 51 | 7 | 58
1 | 38 | 10 | 48 |  |  | Statistic | DF | Prob
Total | 89 | 17 | 106 |  |  | Chi-Square | 1 | 0.2209
Interpretation: Being 6A serotype not associated with presence of multiple serotypes as defined
by log difference in DNA amount;
Serotype 19F
Table of NinF by LogDif
NinF | LogDif(LogDif)
| 0 | 1 | Total
0 | 77 | 14 | 91
1 | 12 | 3 | 15 |  |  | Statistic | DF | Prob
Total | 89 | 17 | 106 |  |  | Chi-Square | 1 | 0.6517
Interpretation: Being 19F serotype not associated with presence of multiple serotypes as defined
by log difference in DNA amount;
Serotype 19A
Table of NinA by LogDif
NinA | LogDif(LogDif)
| 0 | 1 | Total
0 | 77 | 15 | 92
1 | 12 | 2 | 14 |  |  | Statistic | DF | Prob
Total | 89 | 17 | 106 |  |  | Chi-Square | 1 | 0.8479
Interpretation: Being 19A serotype not associated with presence of multiple serotypes as defined
by log difference in DNA amount;
Serotype 9V/A
Table of NiVA by LogDif
NiVA | LogDif(LogDif)
| 0 | 1 | Total
0 | 80 | 17 | 97
1 | 9 | 0 | 9 |  |  | Statistic | DF | Prob
Total | 89 | 17 | 106 |  |  | Chi-Square | 1 | 0.1705
Interpretation: Being 9V/A serotype not associated with presence of multiple serotypes as defined
by log difference in DNA amount;
Serotype 15B/C
Table of FifB by LogDif
FifB | LogDif(LogDif)
| 0 | 1 | Total
0 | 70 | 13 | 83
1 | 19 | 4 | 23 |  |  | Statistic | DF | Prob
Total | 89 | 17 | 106 |  |  | Chi-Square | 1 | 0.8415
Interpretation: Being 15B/C serotype not associated with presence of multiple serotypes as defined
by log difference in DNA amount;
Serotype |  | Multiple Seroypes? |  | Total | p-valuea
|  | No | Yes | (n=57)
6A/B | No | 16 | 10 | 26 | 0.3059
| Yes | 23 | 8 | 31
19F | No | 30 | 15 | 45 | 0.5158
| Yes | 9 | 3 | 12
19A | No | 36 | 15 | 51 | 0.3961
| Yes | 3 | 3 | 6
9V/A | No | 38 | 16 | 54 | 0.5868
| Yes | 1 | 2 | 3
15B/C | No | 34 | 15 | 49 | 0.448
| Yes | 5 | 3 | 8
aAll serotype grouping analyses except for that of 6A/B used Fisher's Exact Test statistic
because of sparsity of data. Chi-square p-value was used for analysis of 6A/B grouping.

## #Tbl 14 Level of DNA dif & mult
Table 14. Multiple Serotypes and Level of Difference between lytA DNA and Serotype-Specific DNA
Grouping | Multiple Serotypes? |  | Total | Chi-Square
| No | Yes | (n=57) | p-value
< 10,000 (1.E+04) CFU/ml | 14 | 3 | 17 | 0.2144*
> 10,000 (1.E+04) CFU/ml | 25 | 15 | 40
Total | 39 | 18 | 57
< 100,000 (1.E+05) CFU/ml | 16 | 6 | 22 | 0.5792
> 100,000 (1.E+05) CFU/ml | 23 | 12 | 35
Total | 39 | 18 | 57
< 1,000,000 (1.E+06) CFU/ml | 30 | 9 | 39 | 0.0421
> 1,000,000 (1.E+06) CFU/ml | 9 | 9 | 18
Total | 39 | 18 | 57
*Used Fisher exact test as definitive test as data was sparse (<5) in some cells.

## #Tbl 15 Research Q4
Table 15. Sample Serotype and Association with Total lytA DNA Amount
Serotype | Distribution (n) | Mean lytA DNA | 95% lytA DNA CL Mean (CFU/ml) |  | Std Dev | Two-Sample T-test
|  | (CFU/ml) | (L.B.) | (U.B.) |  | p-value
6A/B
No? | 58 | 2103360 | 1241240 | 2965470 | 3278810
Yes? | 48 | 3733200 | 2182240 | 5284150 | 5341310
Difference (N-Y) |  | -1629840 | -3388950 | 129270 |  | 0.0689*
19F
No? | 91 | 2686700 | 1754160 | 3619230 | 4477750
Yes? | 15 | 3779910 | 1668410 | 5891410 | 3812880
Difference (N-Y) |  | -1093213 | -3521435 | 1335010 | 4394109 | 0.374
19A
No? | 92 | 3014620 | 2084120 | 3945130 | 4493130
Yes? | 14 | 1703040 | -356500 | 3762590 | 3567040
Difference (N-Y) |  | 1311579 | -1184739 | 3807897 | 4388074 | 0.2999
9V/A
No? | 97 | 2801880 | 1908910 | 3694840 | 4430610
Yes? | 7 | 3267340 | 84650 | 6450040 | 4140530
Difference (N-Y) |  | -465469 | -3512058 | 2581120 | 4408970 | 0.7625
15B/C
No? | 83 | 3346310 | 2297210 | 4395400 | 4430610
Yes? | 23 | 1019330 | 489020 | 1549650 | 4140530
Difference (N-Y) |  | 2326970 | 1164690 | 3489250 |  | <0.0001*
*Used Satterthwaite differences and p-values, as p-values for equality of variance tests for these analyses were significant

## #Tbl 16 Serotypes & Dif
Table 16. Sample Serotype and Difference between lytA DNA and Serotype-Specific DNA Amounts (p-values)
Serotype* | > 66% Differencea | Absolute Differenceb |  | Underzero Differencec
| P-Value | Mean Significantly Higher or Lower than others? | P-Value | Mean Significantly Higher or Lower than others? | P-Value
6A/B | 0.4990d | Higher | 0.0003 | Higher | 0.0055
19F | 0.4424 | - | 0.1251 | - | 0.4905
19A | 1 | Lower | 0.0165 | Lower | <0.0001
9V/A | 0.2387 | - | 0.7844 | Lower | 0.0292
15B/C | 0.7354 | - | 0.5476 | - | 0.0858
*N=106, Serotype 23F excluded from analyses
aChi-square or fisher analyses of > 66% Difference variable and serotype dummy variable
bTwo Sample t-test results of difference of lytA DNA and serotype-specific DNA (allowing for negative values) across serotype dummy varaibles
cTwo Sample T-test Results of Difference of LytA DNA and serotype-specific DNA (not allowing for negative values) across serotype dummy varaibles
dChi-square analysis, all others in column were fisher exact tests
Note: Bolded values indicate significant results at the 5% level of significance.

## #Tbls 17-19 Multivariate Anl
Table 17. Interaction Assessment of Initial Model
Analysis of Maximum Likelihood Estimates
Parameter | Model Parameter | DF | Estimate | Standard Error | Wald Chi-Square | Pr > ChiSq
Intercept | β0 | 1 | 5.605 | 109.8 | 0.0026 | 0.9593
LogDif | β1 | 1 | 4.6207 | 160.8 | 0.0008 | 0.9771
SixA | β2 | 1 | -7.4508 | 109.8 | 0.0046 | 0.9459
NinF | β3 | 1 | -7.5509 | 109.8 | 0.0047 | 0.9452
NinA | β4 | 1 | -5.605 | 109.8 | 0.0026 | 0.9593
NiVA | β5 | 1 | -4.9119 | 109.8 | 0.002 | 0.9643
FifB | β6 | 1 | -6.7036 | 109.8 | 0.0037 | 0.9513
LogDif*SixA | γ1 | 1 | -2.0817 | 160.8 | 0.0002 | 0.9897
LogDif*NinF | γ2 | 1 | 6.8578 | 109.8 | 0.0039 | 0.9502
LogDif*NinA | γ3 | 1 | -4.6207 | 160.8 | 0.0008 | 0.9771
LogDif*NiVA | γ4 | 0 | 0 | . | . | .
LogDif*FifB | γ5 | 1 | -3.5221 | 160.8 | 0.0005 | 0.9825
Initial Model:
logit( p=Multiple Serotypes)=β0 +β1(Log_dif) +β2(SixA)+β3(NinF)+β4(NinA) +β5(NiVA)+β6(FifB)+γ1(Log_dif*SixA) +γ2(Log_dif*NinF) +γ3(Log_dif*NinA)+γ4(Log_dif*NiVA) +γ5(Log_dif*FifB)
Resulting Model After Interaction Terms Dropped:
logit( p=Multiple Serotypes)=β0 +β1(Log_dif) +β2(SixA)+β3(NinF)+β4(NinA) +β5(NiVA)+β6(FifB)

## #Tbls 17-19 Multivariate An (2)
Table 18. Confounding & Precision Assessment (Gold Standard Model)
Gold Standard Model: logit(p=Mult. Ser.)=β0 +β1(Log_dif) +β2(SixA)+β3(NinF)+β4(NinA) +β5(NiVA)+β6(FifB)
Analysis of Maximum Likelihood Estimates | [6 empty] | Odds Ratio Estimates
Parameter | Model Parameter | DF | Estimate | Standard Error | Wald Chi-Square | Pr > ChiSq | Point Estimate | 95% Wald Confidence Limits |  | 95% CI Width
Intercept | β0 | 1 | 1.0147 | 1.6522 | 0.3772 | 0.5391
LogDif | β1 | 1 | -2.0226 | 0.7403 | 7.4639 | 0.0063 | 0.132 | 0.031 | 0.565 | 0.534
SixA | β2 | 1 | 0.6573 | 1.6393 | 0.1608 | 0.6885
NinF | β3 | 1 | 0.5473 | 1.4449 | 0.1435 | 0.7049
NinA | β4 | 1 | -0.3912 | 1.9183 | 0.0416 | 0.8384
NiVA | β5 | 1 | -1.7079 | 2.0566 | 0.6896 | 0.4063
FifB | β6 | 1 | 0.6438 | 1.9657 | 0.1073 | 0.7433

## #Tbls 17-19 Multivariate An (3)
Table 19. Confounding & Precision Assessment (Reduced Model)
Reduced Model: logit(p=Mult. Ser.)=β0 +β1(Log_dif)
Analysis of Maximum Likelihood Estimates | [6 empty] | Odds Ratio Estimates
Parameter | Model Parameter | DF | Estimate | Standard Error | Wald Chi-Square | Pr > ChiSq | Point Estimate | 95% Wald Confidence Limits |  | 95% CI Width
Intercept | β0 | 1 | 1.2993 | 0.3761 | 11.9375 | 0.0006
LogDif | β1 | 1 | -1.7047 | 0.6475 | 6.9328 | 0.0085 | 0.182 | 0.051 | 0.647 | 0.596

## #Tbl 20. Method Comp
Table 20. Method Comparisons for Determining Serotypes in Nasopharyngeal S. pneumoniae Samples*
| Quelling | Multiplex PCRa | Standard qPCR | RSPH Method
Objective: Single Serotype per Sample
Number of Reactions per Sample | 93 (1 panel) | 1-8 | 1-93 | 1-6
Number of Reactions per 150 Samples | 13950 (150 panels) | 150-1200 | 150-13950 | 150-900
Relative Cost | + | + | +++ | +
Relative Speed | + | + | +++ | +++
Predictive Power | +++ | ++ | +++ | ++
Objective: All Serotypes in Sample
Number of Reactions per Sample | 9300 (100 panels)b | 8 | 93 | 6
Number of Reactions per 150 Samples | 1395000 (15000 panels) | 1200 | 13950 | 900
Reactions Used in Samples with Single Serotypec, d | 1171800 (12600 panels) | 1008 | 11718 | 756
Relative Cost (for many samples) | +++ | + | +++ | +
Relative Speed (for many samples) | + | ++ | ++ | +++
Predictive Power | +++ | ++ | +++ | ++
* (+=low, ++=mid-range, +++=high)
aDoes not detects all serotype because low sensitivity
bRequires the isolation of at least 100 colonies from the sample
cBased of RSPH results, 84% of samples contain single serotype
dFor 150 samples

## #Table 21 - Lit comparison
Table 21. Most Common Serotypes in Children Across Latin America and in Perua
Type | Invasive Pneumococcal Disease Studies |  |  |  | Carriage Studies
Country | Latin America | Peru |  |  | Brazil | Venezuela |  | Peru
Serotype Rank | Castenada et al. (2009) | Cullotta et al. (2002) | Ochea et al. (2005) | Ochoa et al. (2010) | Laval et al. (2006) | Rivera-Olivero et al. (2007) | Bello Gonzalez et al. (2010) | RSPH Current Study
1 | 14 (28.9) | 23F (13.7) | 19 (19.9) | 14 (26.3) | 14 (14.9) | 23F (19.7) | 6B (48) | 6A/B/C (20.6)
2 | 6B (9.2) | 6A (10.3) | 6 (19.0) | 6B (20.2) | 6B (13.1) | 6A (19.7) | 33F (21.5) | 23F (8.7)
3 | 1 (7.5) | 6B (10.3) | 23 (15.2) | 19F (11.1) | 6A (10.8) | 15B (10.5) | 6A (6.0) | 15B/C (7.4)
4 | 5 (6.9) | 15B (8.9) | 15 (8.5) | 23F (6.1) | 19F (8.6) | 6B (9.2) | 19A (3.1) | 19F (6.1)
5 | 18C (6.0) | 19F (8.2) | 14 (5.2) | 5 (6.1) | 10A (6.8) | 19F (7.2) | 23F (3.1) | 19A (4.2)
6 | 19F (6.0) | 14 (7.5) | 9 (3.8) | 6A (4.0) | 23F (6.3) | 11 (7.2) | - | 9V/A (2.9)
7 | 23F (4.7) | 34 (3.4) | 33 (2.8) | 19A (4.0) | 18C (5.0) | 14 (4.6) | - | 18A/B/C (2.6)
8 | 6A (3.7) | 23B (2.7) | - | 9V (1.0) | 19A (4.5) | 19A (3.3) | - | 4 (1.9)
9 | 19A (3.7) | 9V (3 2) | - | 18C (1.0) | 9N (4.0) | 9V (2.6) | - | -
10 | 7F (3.3) | 19A (2.1) | - | 3 (1.0) | 18A (4.0) | 10 (2.0) | - | -
11 | 9V (2.9) | 21 (2.1) | - | 4 (1.0) | 9V(3.6) | 18C (1.3) | - | -
12 | 3 (2.1) | 9A (0.7)b | - | - | - | - | - | -
13 | 4 (1.5) | 15C (0.7)b | - | - | - | - | - | -
Other | Other/NT (11.7) | Other (18.9) | - | - | - | - | - | Other (30.2)
NT | - | NT (8.9) | - | - | Other (18.4) | Other (12.5) | Other/NT (18.3) | NT (15.4)
aTable format is Serotype (Percentage of Serotype within study sample population).
bRank for both these serotypes in distribution is 21 amongst other serotypes found in study.

## appen c 1
Appendix C. Raw Data & Findings (1 of 4)
NP Sample Number | Serotype# | Total lytA DNA 1st run * (w/ 6A/B stds) | Total lytA DNA 2nd run * (w/ 19F stds) | Total lytA DNA 3rd run * (w/ 9V/A stds) | Total lytA DNA 4th run* (w/ 6A/B stds) | Total lytA DNA 5th run* (w/ 15B/C stds) | Mean lytA DNA Amount* | LytA Run Std Dev* | lytA 95% CI L.B.* | lytA 95% CI U.B.*
1 | 6A/B/C | 708186.4886 | - | - | - | - | 708186.4886 | - | . | .
4 | 19A | 175760.4322 | - | - | - | - | 175760.4322 | - | . | .
5 | 6A/B/C | 934694.1864 | - | - | - | - | 934694.1864 | - | . | .
8 | 23F | 2830008.461 | - | - | - | - | 2830008.461 | - | . | .
9 | 6A/B/C | 1151668.6856 | - | 563477.0212 | 2533992.1169 | - | 1416379.2745 | 1011576.1007 | 271673.16 | 2561085.39
10 | 6A/B/C | 12860151.1464 | - | - | - | - | 12860151.1464 | - | . | .
11 | 6A/B/C, 19F | 4734000 | 4381584.8586 | - | 10687355.1749 | - | 6600980.0112 | 3543288.8102 | 1623283.69 | 11578676.33
17 | 6A/B/C | 1283559.9932 | - | - | - | - | 1283559.9932 | - | . | .
18 | 6A/B/C | 3243257.1148 | - | - | - | - | 3243257.1148 | - | . | .
24 | 6A/B/C | 338930.858 | - | - | - | - | 338930.858 | - | . | .
28 | 19F | 1717964.2247 | - | 585591.4288 | 3117248.4821 | - | 1806934.7119 | 1268171.388 | 295643.27 | 3318226.16
29 | 6A/B/C | 7003810.2526 | - | - | - | - | 7003810.2526 | - | . | .
31 | 9V/A | 140155.4225 | - | - | - | - | 140155.4225 | - | . | .
34 | 23F | 8160035.7762 | - | - | - | - | 8160035.7762 | - | . | .
41 | 6A/B/C | 1892986.2937 | - | - | - | - | 1892986.2937 | - | . | .
44 | 6A/B/C | 338979.5495 | - | - | - | - | 338979.5495 | - | . | .
45 | 15B/C | 2670453.1321 | - | - | 22033119.6589 | - | 12351786.3955 | 13691472.8029 | -987312.89 | 25690885.68
46 | 19F | 13179203.8061 | - | - | - | - | 13179203.8061 | - | . | .
50 | 6A/B/C | 9454624.9918 | - | - | - | - | 9454624.9918 | - | . | .
52 | 6A/B/C | 2849404.474 | - | - | - | - | 2849404.474 | - | . | .
56 | 23F | 12361647.2507 | - | - | - | - | 12361647.2507 | - | . | .
60 | 6A/B/C | 7458211.6915 | - | - | - | - | 7458211.6915 | - | . | .
61 | 15B/C | 71390.4086 | - | - | - | - | 71390.4086 | - | . | .
65 | 19F | 5667033.0974 | - | - | - | - | 5667033.0974 | - | . | .
67 | 23F | 3090411.7864 | - | - | - | - | 3090411.7864 | - | . | .
72 | 15B/C | 822634.5152 | - | - | - | - | 822634.5152 | - | . | .
74 | 6A/B/C | 18301587.5188 | - | - | - | - | 18301587.5188 | - | . | .
75 | 15B/C | 5005238.7666 | - | - | - | 4948412.288 | 4976825.5273 | 40182.3884 | 1198791.09 | 8754859.97
82 | 23F | 4517186.4295 | - | - | - | - | 4517186.4295 | - | . | .
83 | 23F | 127502.9525 | - | - | - | - | 127502.9525 | - | . | .
85 | 19A | 1128512.4912 | - | - | - | - | 1128512.4912 | - | . | .
86 | 19A | 25975.6999 | - | - | - | - | 25975.6999 | - | . | .
87 | 9V/A | 749147.4821 | - | - | - | - | 749147.4821 | - | . | .
90 | 9V/A | 3255490.0864 | - | - | - | - | 3255490.0864 | - | . | .
92 | 9V/A | 7540678.6435 | - | - | - | - | 7540678.6435 | - | . | .
94 | 19F | 1318027.9386 | - | - | - | - | 1318027.9386 | - | . | .
96 | 23F | 479551.3844 | - | - | - | - | 479551.3844 | - | . | .
98 | 23F | 8077242.894 | - | - | - | - | 8077242.894 | - | . | .
99 | 15B/C | 714877.5636 | - | - | - | - | 714877.5636 | - | . | .
102 | 6A/B/C | 8107714.4752 | - | - | - | 905530.2837 | 4506622.3795 | 5092713.2812 | -408412.4 | 9421657.16
106 | 19F | 2812303.9289 | - | - | - | - | 2812303.9289 | - | . | .
109 | 6A/B/C | 15294421.362 | - | - | - | - | 15294421.362 | - | . | .
110 | 6A/B/C | 1079614.1966 | - | - | - | - | 1079614.1966 | - | . | .
122 | 9V/A | 930799.1146 | - | - | - | - | 930799.1146 | - | . | .
123 | 19A | 7640.8095 | - | - | - | - | 7640.8095 | - | . | .
131 | 6A/B/C | 22953.4218 | - | - | - | - | 22953.4218 | - | . | .
133 | 23F | 11872776.9522 | - | - | - | - | 11872776.9522 | - | . | .
134 | 19A | 8026827.1781 | - | - | - | - | 8026827.1781 | - | . | .
136 | 6A/B/C | 1958461.4023 | - | - | - | - | 1958461.4023 | - | . | .
142 | 23F | 1800374.0562 | - | - | - | - | 1800374.0562 | - | . | .
145 | 15B/C | 923045.0902 | - | - | - | - | 923045.0902 | - | . | .
156 | 6A/B/C | 114005.0575 | - | 48928.7616 | - | - | 81466.9095 | 46015.8901 | 11887.98 | 151045.84
170 | 23F | 2679598.1204 | - | - | - | - | 2679598.1204 | - | . | .
173 | 6A/B/C | 3735083.0866 | - | - | - | - | 3735083.0866 | - | . | .
181 | 15B/C | 627378.5354 | - | - | - | - | 627378.5354 | - | . | .
182 | 6A/B/C | 120315.5541 | - | - | - | - | 120315.5541 | - | . | .
189 | 6A/B/C | 925484.362 | - | - | - | - | 925484.362 | - | . | .
190 | 6A/B/C | 23295359.8434 | - | - | - | 5436442.128 | 14365900.9857 | 12628161.8212 | 383711.63 | 28348090.34
192 | 6A/B/C | 6817146.0923 | - | - | - | - | 6817146.0923 | - | . | .
194 | 6A/B/C | 226573.5532 | - | - | - | - | 226573.5532 | - | . | .
206 | 6A/B/C, 19F | 3538155.4503 | - | - | 5260863.4828 | - | 4399509.4666 | 1218138.5318 | 954793.31 | 7844225.62
207 | 6A/B/C | 2324983.9988 | - | 939187.0454 | - | - | 1632085.5221 | 979906.4231 | 219276.86 | 3044894.18
208 | 15B/C | 225132.3388 | - | - | - | - | 225132.3388 | - | . | .
212 | 19F | 5295854.6295 | - | - | - | - | 5295854.6295 | - | . | .
218 | 19F | 2138529.7832 | - | - | - | - | 2138529.7832 | - | . | .
219 | 23F | 355183.7377 | - | - | - | - | 355183.7377 | - | . | .
220 | 6A/B/C | 27583.3457 | - | - | - | - | 27583.3457 | - | . | .
221 | 19A | 150116.0049 | - | - | - | - | 150116.0049 | - | . | .
225 | 19F | 604661.5307 | - | - | - | - | 604661.5307 | - | . | .
227 | 23F | 2835438.0509 | - | - | - | - | 2835438.0509 | - | . | .
229 | 15B/C | 106235.7915 | - | - | 639531.908 | - | 372883.8497 | 377097.3003 | -12352.9 | 758120.6
234 | 15B/C | 784851.4816 | - | - | - | - | 784851.4816 | - | . | .
235 | 9V/A | 57236.4478 | - | - | - | - | 57236.4478 | - | . | .
236 | 6A/B/C | 1220876.2664 | - | - | - | - | 1220876.2664 | - | . | .
244 | 6A/B/C | 1166771.7126 | - | - | - | - | 1166771.7126 | - | . | .
246 | 23F | 29703340.7794 | - | - | - | - | 29703340.7794 | - | . | .
249 | 6A/B/C | 1160879.4589 | - | 413088.5804 | - | - | 786984.0197 | 528768.0011 | 86161.29 | 1487806.75
250 | 15B/C | 228563.5747 | - | - | - | - | 228563.5747 | - | . | .
#Molecular serotype of S. pneumoniae strain isolated from NP swabs.
*CFU/ml quantified by qPCR assays.
aOnly samples with log difference=1 were examined for the complete set of primers and probes {6A/B, 19F, 9V/A, 15B/C, 19A} by qPCR.
bSerotypes detected in NP swabs using qPCR assays targeting serotypes 6A/B, 19F, 23F, 9V/A, 15B/C and 19A, (missing values indicate no serotype-specific DNA was found in qPCR Run 1)
cSerotypes detected by multiplex PCR using DNA extracted from enrichment broth (only 57 samples were examined by this method).

## appen c 2
Appendix C. Raw Data & Findings (2 of 4)
NP Sample Number | Serotype# | Total lytA DNA 1st run * (w/ 6A/B stds) | Total lytA DNA 2nd run * (w/ 19F stds) | Total lytA DNA 3rd run * (w/ 9V/A stds) | Total lytA DNA 4th run* (w/ 6A/B stds) | Total lytA DNA 5th run* (w/ 15B/C stds) | Mean lytA DNA Amount* | LytA Run Std Dev* | lytA 95% CI L.B.* | lytA 95% CI U.B.*
252 | 19F | 18804.8552 | - | - | - | - | 18804.8552 | - | . | .
255 | 6A/B/C | 247442.7588 | - | - | - | - | 247442.7588 | - | . | .
256 | 6A/B/C | 336756.0886 | - | - | - | - | 336756.0886 | - | . | .
257 | 23F | 6222224.8928 | - | - | - | - | 6222224.8928 | - | . | .
258 | 6A/B/C | 186074.2011 | - | - | - | - | 186074.2011 | - | . | .
261 | 19F | 247859.9982 | - | - | - | - | 247859.9982 | - | . | .
264 | 19A | 11768873.0974 | - | - | - | - | 11768873.0974 | - | . | .
266 | 9V/A | 4590858.1679 | - | - | - | 5821235.8985 | 5206047.0332 | 870008.4367 | 1208390.18 | 9203703.89
268 | 6A/B/C | 1083040.8086 | - | 350280.4673 | - | - | 716660.6379 | 518139.8063 | 64834.72 | 1368486.56
269 | 15B/C | 8232.649 | - | - | - | - | 8232.649 | - | . | .
270 | 15B/C | 3632812.1001 | - | - | - | - | 3632812.1001 | - | . | .
271 | 19A | 521733.3477 | - | - | - | - | 521733.3477 | - | . | .
274 | 19F | 1352397.7726 | - | - | - | - | 1352397.7726 | - | . | .
279 | 23F | 1822294.842 | - | - | - | - | 1822294.842 | - | . | .
282 | 19A | 136285.2612 | - | - | 635571.5186 | - | 385928.3899 | 353048.6984 | 4248.74 | 767608.04
283 | 6A/B/C | 815408.9473 | - | - | - | - | 815408.9473 | - | . | .
284 | 19A | 22007.3903 | - | - | 70205.452 | - | 46106.4212 | 34081.1763 | 3883.95 | 88328.89
288 | 6A/B/C | 1372779.3117 | - | 517666.0588 | - | - | 945222.6853 | 604656.3799 | 114316.62 | 1776128.75
291 | 6A/B/C | 428659.633 | - | - | - | - | 428659.633 | - | . | .
292 | 6A/B/C | 406960.7174 | - | 183267.8341 | - | - | 295114.2757 | 158174.7546 | 45714.21 | 544514.34
296 | 6A/B/C | 16057898.4841 | - | - | - | - | 16057898.4841 | - | . | .
297 | 15B/C | 1414529.817 | - | - | - | - | 1414529.817 | - | . | .
299 | 19F | 10948573.2046 | - | - | - | - | 10948573.2046 | - | . | .
305 | 23F | 1649007.8709 | - | - | - | - | 1649007.8709 | - | . | .
311 | 6A/B/C | 756476.6331 | - | 343818.8941 | - | - | 550147.7636 | 291793.0856 | 86152.03 | 1014143.5
318 | 15B/C | 51274.0984 | - | - | - | - | 51274.0984 | - | . | .
319 | 15B/C | 959567.056 | - | - | - | - | 959567.056 | - | . | .
328 | 6A/B/C | 71702.1 | - | - | - | - | 71702.1 | - | . | .
335 | 6A/B/C | 1333720.0491 | - | - | - | - | 1333720.0491 | - | . | .
337 | 6A/B/C | 1631766.9631 | - | - | - | - | 1631766.9631 | - | . | .
341 | 6A/B/C | 7648997.0149 | - | - | - | - | 7648997.0149 | - | . | .
343 | 15B/C | 1419132.4457 | - | - | - | - | 1419132.4457 | - | . | .
351 | 23F | 4369812.5915 | - | - | - | - | 4369812.5915 | - | . | .
352 | 23F | 142905.0842 | - | - | - | - | 142905.0842 | - | . | .
371 | 9V/A | 11967240.2332 | - | - | - | - | 11967240.2332 | - | . | .
385 | 15B/C | 424051.8591 | - | - | - | - | 424051.8591 | - | . | .
397 | 23F | 890217.1018 | - | - | - | - | 890217.1018 | - | . | .
398 | 19A | 279055.5703 | - | - | - | - | 279055.5703 | - | . | .
400 | 15B/C | 428187.6365 | - | - | - | - | 428187.6365 | - | . | .
417 | 19A | 160928.9874 | - | - | - | - | 160928.9874 | - | . | .
419 | 19A | 319565.9336 | - | - | - | - | 319565.9336 | - | . | .
429 | 15B/C | 1186616.0217 | - | - | 8779963.7627 | - | 4983289.8922 | 5369307.6795 | -322723.64 | 10289303.43
434 | 23F | 150665.231 | - | - | - | - | 150665.231 | - | . | .
435 | 15B/C | 375595.0789 | - | - | - | - | 375595.0789 | - | . | .
438 | 23F | 41557.0059 | - | - | - | - | 41557.0059 | - | . | .
456 | 23F | 416262.0869 | - | - | - | - | 416262.0869 | - | . | .
460 | 23F | 133460.5185 | - | - | - | - | 133460.5185 | - | . | .
469 | 15B/C | 111042.9168 | - | - | 701017.6209 | - | 406030.2689 | 417175.114 | -16546.24 | 828606.78
470 | 6A/B/C, 19F | 3125264.7362 | - | - | - | - | 3125264.7362 | - | . | .
471 | 23F | 879520.4843 | - | - | - | - | 879520.4843 | - | . | .
479 | 15B/C | 1253838.5676 | - | - | - | - | 1253838.5676 | - | . | .
481 | 23F | 4111892.6439 | - | - | - | - | 4111892.6439 | - | . | .
491 | 19A | 1119342.8202 | - | - | - | 905530.2837 | 1012436.552 | 151188.2944 | 236783.04 | 1788090.06
494 | 9V/A | 174493.4691 | - | - | - | - | 174493.4691 | - | . | .
497 | 23F | 9010864.1569 | - | - | - | - | 9010864.1569 | - | . | .
514 | 23F | 7684579.3763 | - | - | - | - | 7684579.3763 | - | . | .
516 | 23F | 7248720.642 | - | - | - | - | 7248720.642 | - | . | .
528 | 23F | 1817136.3402 | - | - | - | - | 1817136.3402 | - | . | .
532 | 23F | 632105.874 | - | - | - | - | 632105.874 | - | . | .
548 | 23F | 5483071.4147 | - | - | - | - | 5483071.4147 | - | . | .
602 | 23F | 427382.3855 | - | - | - | - | 427382.3855 | - | . | .
665 | 23F | 18355207.1969 | - | - | - | - | 18355207.1969 | - | . | .
668 | 23F | 2808762.9051 | - | - | - | - | 2808762.9051 | - | . | .
669 | 23F | 16091653.3767 | - | - | - | - | 16091653.3767 | - | . | .
722 | 23F | 523730.6205 | - | - | - | - | 523730.6205 | - | . | .
724 | 23F | 4045878.4364 | - | - | - | - | 4045878.4364 | - | . | .
730 | 23F | 6425908.6897 | - | - | - | - | 6425908.6897 | - | . | .
735 | 23F | 10027150.2922 | - | - | - | - | 10027150.2922 | - | . | .
739 | 23F | 14146118.8617 | - | - | - | - | 14146118.8617 | - | . | .
740 | 23F | 1182987.1749 | - | - | - | - | 1182987.1749 | - | . | .
742 | 23F | 9879307.9606 | - | - | - | - | 9879307.9606 | - | - | -
#Molecular serotype of S. pneumoniae strain isolated from NP swabs.
*CFU/ml quantified by qPCR assays.
aOnly samples with log difference=1 were examined for the complete set of primers and probes {6A/B, 19F, 9V/A, 15B/C, 19A} by qPCR.
bSerotypes detected in NP swabs using qPCR assays targeting serotypes 6A/B, 19F, 23F, 9V/A, 15B/C and 19A, (missing values indicate no serotype-specific DNA was found in qPCR Run 1)
cSerotypes detected by multiplex PCR using DNA extracted from enrichment broth (only 57 samples were examined by this method).

## appen c 3
Appendix C. Raw Data & Findings (3 of 4)
NP Sample Number | 6A/B* | 19F* | 23F* | 9V/A* | 15B/C* | 19A* | > 66% Difference in Run 1 (1=yes, 0=no)a | Serotypes detected by qPCRb | Serotypes detected by multiplex PCRc
1 | 298134.7564 | - | - | - | - | - | 0 | 6A/B | -
4 | - | - | - | - | - | 2734293.5617 | 0 | 19A | -
5 | 175985.3051 | - | - | - | - | - | 0 | 6A/B | -
8 | - | - | 378069.1433 | - | - | - | 0 | 23F | -
9 | 581780.9567 | 8561.8369 | - | - | - | 3884.7715 | 0 | 6A/B | 6A/B/C
10 | 10513687.0079 | - | - | - | - | - | 0 | 6A/B | 6A/B/C
11 | 252273.844 | 6858483.6175 | - | - | 3743.9494 | 13195.3495 | 1 | 6A/B, 19F | 19F
17 | - | - | - | - | - | - | 0 | - | -
18 | - | - | - | - | - | - | 0 | - | -
24 | 322353.8367 | - | - | - | - | - | 0 | 6A/B | -
28 | 4720.9468 | 35389.6241 | - | - | - | 2466.2615 | 1 | 19F | 17F, 4, 31
29 | 7597312.3225 | - | - | - | - | - | 0 | 6A/B | 6A/B/C
31 | - | - | - | 182505.0495 | - | - | 0 | 9V/A | -
34 | - | - | 294405.1315 | - | - | - | 0 | 23F | -
41 | 1965032.4625 | - | - | - | - | - | 0 | 6A/B | 6A/B/C
44 | 235924.0654 | - | - | - | - | - | 0 | 6A/B | -
45 | 1896606.3244 | 22119.9129 | 259432.7763 | 3935.4965 | 935951.5875 | 141903.9963 | 1 | 6A/B, 15B/C | 6A/B/C, 15B/C, 13
46 | - | 25360268.4243 | - | - | - | - | 0 | 19F | 19F
50 | 8361172.593 | - | - | - | - | - | 0 | 6A/B | 6A/B/C
52 | 2263718.3626 | - | - | - | - | - | 0 | 6A/B | 6A/B/C, 16F
56 | - | - | 11921015.3693 | - | - | - | 0 | 23F | -
60 | 2831598.5053 | - | - | - | - | - | 0 | 6A/B | 6A/B/C
61 | - | - | - | - | 21675.9286 | - | 0 | 15B/C | -
65 | - | 2986446.9095 | - | - | - | - | 0 | 19F | 19F, 11A
67 | - | - | 449841.7843 | - | - | - | 1 | 23F | -
72 | - | - | - | - | 820443.5013 | - | 0 | 15B/C | -
74 | 16558203.7826 | - | - | - | - | - | 0 | 6A/B | 6A/B/C
75 | - | - | - | - | 2450695.0586 | - | 0 | 15B/C | 6A/B/C, 15B/C
82 | - | - | 208220.0946 | - | - | - | 0 | 23F | -
83 | - | - | 36894.8955 | - | - | - | 1 | 23F | -
85 | - | - | - | - | - | 1910881.2883 | 0 | 19A | 19A
86 | - | - | - | - | - | 23206.7799 | 0 | 19A | -
87 | - | - | - | 897996.9257 | - | - | 0 | 9V/A | -
90 | - | - | - | - | - | - | 0 | - | -
92 | - | - | - | 7017176.5278 | - | - | 0 | 9V/A, 6A/B | 9V/A, 6A/B/C
94 | - | 2253625.3838 | - | - | - | - | 0 | 19F | 19F
96 | - | - | 827643.8966 | - | - | - | 0 | 23F | -
98 | - | - | - | - | - | - | 0 | - | -
99 | - | - | - | - | 594520.3422 | - | 0 | 15B/C | -
102 | 6789912.658 | - | - | - | - | - | 0 | 6A/B | 6A/B/C
106 | - | 5464008.9146 | - | - | - | - | 0 | 19F | 19F
109 | 14525265.1926 | - | - | - | - | - | 0 | 6A/B | 6A/B/C
110 | 1070512.3155 | - | - | - | - | - | 0 | 6A/B | 6A/B/C
122 | - | - | - | 1136162.2365 | - | - | 0 | 9V/A | -
123 | - | - | - | - | - | 34815.9161 | 0 | 19A | -
131 | 17054.9826 | - | - | - | - | - | 0 | 6A/B | -
133 | - | - | 2039705.6568 | - | - | - | 1 | 23F | -
134 | - | - | - | - | - | 9439657.0752 | 0 | 19A | 19A, 7F
136 | 1989850.6722 | - | - | - | - | - | 0 | 6A/B | 6A/B/C
142 | - | - | 2736623.2249 | - | - | - | 0 | 23F | -
145 | - | - | - | - | 890670.126 | - | 0 | 15B/C | -
156 | 16696.3027 | - | - | - | 18641.763 | 2405.1127 | 1 | 6A/B | 15A/F, 10F/C/33C
170 | - | - | 194830.2849 | - | - | - | 1 | 23F | -
173 | 1285461.6091 | - | - | - | - | - | 0 | 6A/B | 6A/B/C
181 | - | - | - | - | 554550.8518 | - | 0 | 15B/C | -
182 | 86834.1031 | - | - | - | - | - | 0 | 6A/B | -
189 | 929982.3671 | - | - | - | - | - | 0 | 6A/B | -
190 | 12734297.1434 | - | - | - | - | - | 0 | 6A/B, 15B/C | 6A/B/C, 15B/C, 35F
192 | 6340473.3769 | - | - | - | - | - | 0 | 6A/B | 6A/B/C
194 | 307535.0663 | - | - | - | - | - | 0 | 6A/B | -
206 | 495117.1619 | 3142504.9234 | 217436.4985 | - | 2998.9658 | 5730.9637 | 1 | 6A/B, 19F | 6A/B/C, 19F, 13, 31
207 | 169985.3489 | - | - | - | - | 3976.8061 | 1 | 6A/B | 6A/B/C, 13
208 | - | - | - | - | 183188.4336 | - | 0 | 15B/C | -
212 | - | 10975098.5352 | - | - | - | - | 0 | 19F | 19F
218 | - | 4029507.4195 | - | - | - | - | 0 | 19F | 19F
219 | - | - | 607248.0165 | - | - | - | 0 | 23F | -
220 | 39450.4607 | - | - | - | - | - | 0 | 6A/B | -
221 | - | - | - | - | - | 267470.6858 | 0 | 19A | -
225 | - | 1187844.2617 | - | - | - | - | 0 | 19F | -
227 | - | - | 693080.8348 | - | - | - | 0 | 23F | -
229 | 3581.4518 | - | - | - | 72118.8222 | - | 1 | 15B/C | 15B/C, 22F/A
234 | - | - | - | - | - | - | 0 | - | -
235 | - | - | - | 72148.3993 | - | - | 0 | 9V/A | -
236 | 1340381.4568 | - | - | - | - | - | 0 | 6A/B | 6A/B/C
244 | 1017827.6179 | - | - | - | - | - | 0 | 6A/B | 6A/B/C
246 | - | - | 3413097.0805 | - | - | - | 1 | 23F | -
249 | 293195.3993 | - | - | - | - | - | 0 | 6A/B | 6A/B/C
250 | - | - | - | - | 179297.0993 | - | 0 | 15B/C | -
#Molecular serotype of S. pneumoniae strain isolated from NP swabs.
*CFU/ml quantified by qPCR assays.
aOnly samples with log difference=1 were examined for the complete set of primers and probes {6A/B, 19F, 9V/A, 15B/C, 19A} by qPCR.
bSerotypes detected in NP swabs using qPCR assays targeting serotypes 6A/B, 19F, 23F, 9V/A, 15B/C and 19A, (missing values indicate no serotype-specific DNA was found in qPCR Run 1)
cSerotypes detected by multiplex PCR using DNA extracted from enrichment broth (only 57 samples were examined by this method).

## appen c 4
Appendix C. Raw Data & Findings (4 of 4)
NP Sample Number | 6A/B* | 19F* | 23F* | 9V/A* | 15B/C* | 19A* | > 66% Difference in Run 1 (1=yes, 0=no)a | Serotypes detected by qPCRb | Serotypes detected by multiplex PCRc
252 | - | - | - | - | - | - | 0 | - | -
255 | 203372.5104 | - | - | - | - | - | 0 | 6A/B | -
256 | 329359.8124 | - | - | - | - | - | 0 | 6A/B | -
257 | - | - | 611544.6259 | - | - | - | 1 | 23F | -
258 | 189166.0912 | - | - | - | - | - | 0 | 6A/B | -
261 | - | 414800.8235 | - | - | - | - | 0 | 19F | -
264 | - | - | - | - | - | 14923930.9612 | 0 | 19A | 19A
266 | - | - | - | 5117212.5212 | - | - | 0 | 9V/A | 9V/A, 6A/B/C
268 | 224056.9705 | - | - | - | - | - | 1 | 6A/B | 6A/B/C
269 | - | - | - | - | 3867.3295 | - | 0 | 15B/C | -
270 | - | - | - | - | - | - | 0 | - | -
271 | - | - | - | - | - | 881118.7609 | 0 | 19A | -
274 | - | 2608502.9333 | - | - | - | - | 0 | 19F | 19F
279 | - | - | 36397.5678 | - | - | - | 1 | 23F | -
282 | 299584.6016 | - | - | - | - | 20653.6551 | 1 | 6A/B, 19A | 6A/B/C
283 | - | - | - | - | - | - | 0 | - | -
284 | - | 9103.0264 | - | - | - | 6982.038 | 1 | 19A | 22F/A, 35F/47F
288 | 236910.2764 | - | - | - | - | 5480.1718 | 1 | 6A/B | 6A/B/C, 10F/10C/33C
291 | 187323.5197 | - | - | - | - | - | 0 | 6A/B | -
292 | 39588.4213 | - | - | - | - | 4636.9143 | 1 | 6A/B | 6A/B/C, 15B/C, 23A
296 | 11476184.1896 | - | - | - | - | - | 0 | 6A/B | 6A/B/C
297 | - | - | - | - | 1046601.4514 | - | 0 | 15B/C | 15B/C
299 | - | 20963627.4246 | - | - | - | - | 0 | 19F | 19F
305 | - | - | 152910.9436 | - | - | - | 1 | 23F | -
311 | 63257.7791 | - | - | - | - | - | 1 | 6A/B | 6A/B/C
318 | - | - | - | - | 45770.9804 | - | 0 | 15B/C | -
319 | - | - | - | - | - | - | 0 | - | -
328 | 75466.3202 | - | - | - | - | - | 0 | 6A/B | -
335 | 1161725.3252 | - | - | - | - | - | 0 | 6A/B | 6A/B/C
337 | 1405085.4849 | - | - | - | - | - | 0 | 6A/B | 6A/B/C
341 | 5857141.703 | - | - | - | - | - | 0 | 6A/B | 6A/B/C, 35A
343 | - | - | - | - | 1200285.896 | - | 0 | 15B/C | 15B/C
351 | - | - | 5817127.5889 | - | - | - | 0 | 23F | -
352 | - | - | - | - | - | - | 0 | - | -
371 | - | - | - | 10944430.3632 | - | - | 0 | 9V/A | 9V/A
385 | - | - | - | - | 370884.0398 | - | 0 | 15B/C | -
397 | - | - | 1387685.0201 | - | - | - | 0 | 23F | -
398 | - | - | - | - | - | 583991.3194 | 0 | 19A | -
400 | - | - | - | - | 374512.2182 | - | 0 | 15B/C | -
417 | - | - | - | - | - | 220742.2691 | 0 | 19A | -
419 | - | - | - | - | - | 437815.953 | 0 | 19A | -
429 | 7174.3625 | 6577.8032 | - | 5573.0645 | 616617.5189 | 5389.1603 | 1 | 15B/C | No Result
434 | - | - | - | - | - | - | 0 | - | -
435 | - | - | - | - | 250723.4069 | - | 0 | 15B/C | -
438 | - | - | - | - | - | - | 0 | - | -
456 | - | - | 105823.9746 | - | - | - | 0 | 23F | -
460 | - | - | - | - | - | - | 0 | - | -
469 | 6349.3682 | 40868.9551 | - | - | 82084.944 | 5384.6676 | 1 | 15B/C | 15B/C
470 | 2828131.7105 | - | - | - | - | - | 0 | 6A/B | 6A/B/C
471 | - | - | 1288132.8072 | - | - | - | 0 | 23F | -
479 | - | - | - | - | 1231851.3787 | - | 0 | 15B/C | 15B/C
481 | - | - | 295969.8846 | - | - | - | 1 | 23F | -
491 | - | - | - | - | - | 1840121.8359 | 0 | 19A | 19A, 6A/B/C
494 | - | - | - | 240251.7197 | - | - | 0 | 9V/A | -
497 | - | - | 563441.598 | - | - | - | 1 | 23F | -
514 | - | - | 421473.129 | - | - | - | 1 | 23F | -
516 | - | - | 641909.5753 | - | - | - | 1 | 23F | -
528 | - | - | 1748530.9141 | - | - | - | 0 | 23F | -
532 | - | - | 71576.279 | - | - | - | 1 | 23F | -
548 | - | - | 634292.6095 | - | - | - | 1 | 23F | -
602 | - | - | 90256.2677 | - | - | - | 1 | 23F | -
665 | - | - | 2059467.6563 | - | - | - | 1 | 23F | -
668 | - | - | 401390.553 | - | - | - | 1 | 23F | -
669 | - | - | 1578119.5812 | - | - | - | 1 | 23F | -
722 | - | - | 467600.564 | - | - | - | 0 | 23F | -
724 | - | - | 541464.1868 | - | - | - | 1 | 23F | -
730 | - | - | - | - | - | - | 0 | - | -
735 | - | - | 997462.2733 | - | - | - | 1 | 23F | -
739 | - | - | 1385470.8992 | - | - | - | 1 | 23F | -
740 | - | - | 116017.4198 | - | - | - | 1 | 23F | -
742 | - | - | 951272.4703 | - | - | - | 1 | 23F | -
#Molecular serotype of S. pneumoniae strain isolated from NP swabs.
*CFU/ml quantified by qPCR assays.
aOnly samples with log difference=1 were examined for the complete set of primers and probes {6A/B, 19F, 9V/A, 15B/C, 19A} by qPCR.
bSerotypes detected in NP swabs using qPCR assays targeting serotypes 6A/B, 19F, 23F, 9V/A, 15B/C and 19A, (missing values indicate no serotype-specific DNA was found in qPCR Run 1)
cSerotypes detected by multiplex PCR using DNA extracted from enrichment broth (only 57 samples were examined by this method).

## #Fig 3 ROC Analysis
ROC Analysis: Plotting Sensitivity and Specificity of PCR methods for determining multiple serotype status over several cut-off values of differences between Total DNA amount and Serotype
specific DNA amount (not allowing for negative differences). The gold standard was choosen to be the Multiplex method while the experimental method was qPCR.
[5 empty] | Level | Sensitivity | Specificity | 1-Specificity | 1-Sensitivity
CFU Difference: 0-1000 |  |  |  |  | A | 0.9375 | 0.5 | 0.0625 | 0.5
Table of LogDif by VarA |  |  |  |  | B | 0.71429 | 0.33333 | 0.28571 | 0.66667
LogDif(LogDif) | VarA |  |  |  | C | 0.88889 | 0.55556 | 0.11111 | 0.44444
| 0 | 1 | Total
0 | 15 | 3 | 18
1 | 1 | 3 | 4
Total | 16 | 6 | 22 |  | Level | 0-1000 | 1000-10000 | 10000+
[5 empty] | Sensitivity | 0.9375 | 0.71429 | 0.88888
CFU Difference: 1000-10000 |  |  |  |  | Specificity | 0.5 | 0.3333 | 0.55555
Table of LogDif by VarA | [5 empty] | Note: this will be edited in newer version of excel to fix figure layout
LogDif(LogDif) | VarA
| 0 | 1 | Total
0 | 10 | 2 | 12
1 | 4 | 1 | 5
Total | 14 | 3 | 17
CFU Difference: 10000+
Table of LogDif by VarA
LogDif(LogDif) | VarA
| 0 | 1 | Total
0 | 8 | 4 | 12
1 | 1 | 5 | 6
Total | 9 | 9 | 18
LogDif(LogDif) | VarA
| 0 | 1 | Total
0 | 15 | 3 | 18
1 | 1 | 3 | 4
Total | 16 | 6 | 22
LogDif(LogDif) | VarA
| 0 | 1 | Total
0 | 15 | 3 | 18 |  | LogDif(LogDif) | VarA
| 68.18 | 13.64 | 81.82 |  |  | 0 | 1 | Total |  | Table of LogDif by VarA
| 83.33 | 16.67 |  |  | 0 | 8 | 2 | 10 |  | LogDif(LogDif) | VarA
| 93.75 | 50 |  |  |  | 47.06 | 11.76 | 58.82 |  |  | 0 | 1 | Total
1 | 1 | 3 | 4 |  |  | 80 | 20 |  |  | 0 | 8 | 4 | 12
| 4.55 | 13.64 | 18.18 |  |  | 57.14 | 66.67 |  |  |  | 44.44 | 22.22 | 66.67
| 25 | 75 |  |  | 1 | 6 | 1 | 7 |  |  | 66.67 | 33.33
| 6.25 | 50 |  |  |  | 35.29 | 5.88 | 41.18 |  |  | 88.89 | 44.44
Total | 16 | 6 | 22 |  |  | 85.71 | 14.29 |  |  | 1 | 1 | 5 | 6
| 72.73 | 27.27 | 100 |  |  | 42.86 | 33.33 |  |  |  | 5.56 | 27.78 | 33.33
[5 empty] | Total | 14 | 3 | 17 |  |  | 16.67 | 83.33
[6 empty] | 82.35 | 17.65 | 100 |  |  | 11.11 | 55.56
[10 empty] | Total | 9 | 9 | 18
[11 empty] | 50 | 50 | 100
|  |  | LogDif(LogDif) | VarA
|  |  |  | 0 | 1 | Total
|  |  | 0 | 10 | 2 | 12
|  |  |  | 58.82 | 11.76 | 70.59
|  |  |  | 83.33 | 16.67
|  |  |  | 71.43 | 66.67
|  |  | 1 | 4 | 1 | 5
|  |  |  | 23.53 | 5.88 | 29.41
|  |  |  | 80 | 20
|  |  |  | 28.57 | 33.33
|  |  | Total | 14 | 3 | 17
|  |  |  | 82.35 | 17.65 | 100
Frequency Missing = 6

## Figure 4 ROc 2
Range | % multiple serotypes | Sensitivity | Specificity | 1-spc | 1-sen
> 90% | 11.11 | 0.11111 | 0.94872 | 0.051282 | 0.88889
>80% | 33.33 | 0.33333 | 0.89744 | 0.10256 | 0.66667
>70% | 50 | 0.5 | 0.87179 | 0.12821 | 0.5
>60% | 50 | 0.5 | 0.76923 | 0.23077 | 0.5
>50% | 55.56 | 0.55556 | 0.74359 | 0.25641 | 0.44444
>40% | 66.67 | 0.66667 | 0.74359 | 0.25641 | 0.33333
>30% | 66.67 | 0.66667 | 0.74359 | 0.25641 | 0.33333
>20% | 77.78 | 0.77778 | 0.69231 | 0.30769 | 0.22222
>10% | 77.78 | 0.77778 | 0.51282 | 0.48718 | 0.22222
>0% | 83.33 | 0.83333 | 0.33333 | 0.66667 | 0.16667
0.051282
0.10256
0.12821
Table of nin by mult |  |  |  | 0.23077
nin | mult(mult) |  |  | 0.25641
| 0 | 1 | Total | 0.25641 | Sen | Spc
0 | 37 | 16 | 53 | 0.25641 | 0.11111 | 0.94872
| 64.91 | 28.07 | 92.98 | 0.30769
| 69.81 | 30.19 |  | 0.48718
| 94.87 | 88.89 |  | 0.66667
1 | 2 | 2 | 4
| 3.51 | 3.51 | 7.02
| 50 | 50
| 5.13 | 11.11
Total | 39 | 18 | 57
| 68.42 | 31.58 | 100

## Agreement bw PCR's
Table of Multiple serotypes by LogDif |  |  |  | < 0 as indicating no agreement and 0–.20 as slight, .21–.40 as fair, .41–.60 as moderate, .61–.80 as substantial, and .81–1 as almost perfect agreement.
VarA | LogDif(LogDif)
Frequency | 0 | 1 | Total | Pr(a) | Pr(e) | Kappa
Col Pct |  |  |  | 0.70175 | 0.57433 | 0.29935
0 | 31 | 8 | 39
1 | 9 | 9 | 18
Total | 40 | 17 | 57
| 70.18 | 29.82 | 100
Orig_mult=15B/C
Table of VarA by LogDif
VarA | LogDif(LogDif)
| 0 | 1 | Total | 0.625 | 0.5 | 0.25
0 | 3 | 2 | 5
1 | 1 | 2 | 3
Total | 4 | 4 | 8
| 50 | 50 | 100
Frequency Missing = 15
Orig_mult=19A
Table of VarA by LogDif
VarA | LogDif(LogDif)
| 0 | 1 | Total | 0.5 | 0.5 | 0
0 | 2 | 1 | 3
1 | 2 | 1 | 3
Total | 4 | 2 | 6
| 66.67 | 33.33 | 100
Frequency Missing = 8
Orig_mult=19F
Table of VarA by LogDif
VarA | LogDif(LogDif)
| 0 | 1 | Total | 0.88889 | 0.71605 | 0.6087
0 | 7 | 0 | 7
1 | 1 | 1 | 2
Total | 8 | 1 | 9
| 88.89 | 11.11 | 100
Orig_mult=6A
Table of VarA by LogDif
VarA | LogDif(LogDif)
| 0 | 1 | Total | 0.75 | 0.60714 | 0.36364
0 | 17 | 4 | 21
1 | 3 | 4 | 7
Total | 20 | 8 | 28
| 71.43 | 28.57 | 100
Orig_mult=6A/19F
Table of VarA by LogDif
VarA | LogDif(LogDif)
| 0 | 1 | Total | 0.66667 | 0.44444 | 0.4
0 | 1 | 1 | 2
1 | 0 | 1 | 1
Total | 1 | 2 | 3
| 33.33 | 66.67 | 100
Orig_mult=9V/A
Table of VarA by LogDif
VarA | LogDif(LogDif)
| 0 | 1 | Total | 0.33333 | 0.33333 | 0
0 | 1 | 0 | 1
1 | 2 | 0 | 2
Total | 3 | 0 | 3
| 100 |  | 100

## Research Q2.2
2.2 Is the Total DNA amount associated with the number of serotypes?
A. Number of serotypes as defined by multplex number of serotypes (VarF);
Ordinal Logistic Model;
Analysis of Maximum Likelihood Estimates
Parameter |  | DF | Estimate | Standard | Wald | Pr > ChiSq
|  |  |  | Error | Chi-Square
Intercept | 0 | 1 | -4.068 | 1.0442 | 15.1781 | <.0001
Intercept | 1 | 1 | 0.7332 | 0.3816 | 3.6917 | 0.0547
Intercept | 2 | 1 | 2.3024 | 0.5311 | 18.7899 | <.0001
Intercept | 3 | 1 | 3.9851 | 1.0392 | 14.7042 | 0.0001
Tot_lyt |  | 1 | 8.597e-07 | 5.4e-06 | 0.0253 | 0.8735
Result: Non-significant Chi-square p-value: 0.8735

## resaeach Q5
5. Is the absolute difference between Total DNA and serotype specific DNA associated with multiple serotypes?
A. Multiple serotypes as defined by multiplex results (VarA) and diffrence between Total DNA and serotype specific DNA (allowing for negative differences (abs_dif))?;
Analysis of Maximum Likelihood Estimates
Parameter | DF | Estimate | Standard | Wald | Pr > ChiSq
|  |  | Error | Chi-Square
Intercept | 1 | 0.9432 | 0.3214 | 8.6143 | 0.0033
Abs_dif | 1 | -3e-05 | 1.5e-05 | 3.1503 | 0.0759
Interpretation: Abosulte difference (allowing for negative differences (i.e. < 0 differences)) between total LytA DNA and serotype specific
DNA is not a significant predictor of multiple serotypes.
B. Multiple serotypes as defined by multiplex results (VarA) and diffrence between Total DNA and serotype specific DNA (NOT allowing for negative differences (Underzero))?;
Analysis of Maximum Likelihood Estimates
Parameter | DF | Estimate | Standard | Wald | Pr > ChiSq
|  |  | Error | Chi-Square
Intercept | 1 | 1.072 | 0.3524 | 9.2537 | 0.0024
Underzero | 1 | -3e-05 | 1.8e-05 | 2.2197 | 0.1363
Interpretation: Abosulte difference (NOT allowing for negative differences) between total LytA DNA and serotype specific
DNA is not a significant predictor of multiple serotypes.
ABSCFU
VarA | Method | Mean | 95% CL Mean |  | Std Dev | 95% CL Std Dev
0 |  | -238134 | -1273371 | 797103 | 3193573 | 2609935 | 4115808
1 |  | 1461227 | 169999 | 2752454 | 2596538 | 1948410 | 3892584
Diff (1-2) | Pooled | -1699360 | -3424887 | 26165.6 | 3021657 | 2547481 | 3714387
Diff (1-2) | Satterthwaite | -1699360 | -3310935 | -87785.9
Method | Variances | DF | t Value | Pr > ¦t¦
Pooled | Equal | 55 | -1.97 | 0.0535
Satterthwaite | Unequal | 40.248 | -2.13 | 0.0393
Equality of Variances
Method | Num DF | Den DF | F Value | Pr > F
Folded F | 38 | 17 | 1.51 | 0.3615
UNDERCFU
VarA | N | Mean | Std Dev | Std Err | Minimum | Maximum
0 | 39 | 771190 | 1273645 | 203946 | 0 | 4626613
1 | 18 | 1609002 | 2469279 | 582015 | 0 | 10561063
Diff (1-2) |  | -837813 | 1733610 | 493993
VarA | Method | Mean | 95% CL Mean |  | Std Dev | 95% CL Std Dev
0 |  | 771190 | 358322 | 1184057 | 1273645 | 1040881 | 1641445
1 |  | 1609002 | 381059 | 2836946 | 2469279 | 1852917 | 3701805
Diff (1-2) | Pooled | -837813 | -1827796 | 152170 | 1733610 | 1461562 | 2131049
Diff (1-2) | Satterthwaite | -837813 | -2119284 | 443659
Method | Variances | DF | t Value | Pr > ¦t¦
Pooled | Equal | 55 | -1.7 | 0.0955
Satterthwaite | Unequal | 21.288 | -1.36 | 0.1885
Equality of Variances
Method | Num DF | Den DF | F Value | Pr > F
Folded F | 17 | 38 | 3.76 | 0.0007

## Variable Key
Variable Definition | Sample | OriginalMultiplex PCR result | Total [LytA] (CFU) | Run 1 Serotype Specific (CFA) | Run 1 Serotype | Run 2 Serotype Specific (CFA) | Run 2 Serotype | Log Difference in qPCR Run 1 (1=yes, 0=no) | Supsected qPCR resuls | Multiplex Results | Multiple Serotypes from Multiplex (1=yes, 0=no) | Multiplex correspond to qPCR results [serotype and quantity] (1=yes, 0=no) | All Serotype(s) from qPCR run found in multiplex runs? (1=yes, 0=no) | All 6A, 19F, 9V/A, 19A, 15B/C Serotype(s) from multiplex runs found in qPCR runs? (1=yes, 0=no) | Number of serotypes found in qPCR runs | Number of serotypes found in multiplex runs | 6A/B/C serotype? 1=yes, 0=no | 19F serotype? 1=yes, 0=no | 23F serotype? 1=yes, 0=no | 19A serotype? 1=yes, 0=no | 9V/A serotype? 1=yes, 0=no | 15B/C serotype? 1=yes, 0=no | multiple serotype was found by Multiplex or qPCR? 1=yes, 0=no | numeric variable that is the absolute difference b/w Total lytA DNA amount and Run DNA (allowing for negative values) | numeric variable that is the absolute difference b/w Total lytA DNA amount and Run DNA (No negative values) | dummy variable for any sample having both qPCR and multiplex results (all=1)
SAS Coding | Sample | Orig_mult | Tot_lyt | RunO_CFU | RunOSero | RunT_CFU | RunTCFU | LogDif | qPCR_Re | Mult_Re | Mult_mul | Mult_agr | qPCRinMu | AllQinM | NumSerQ | NumSerM | SixA | NinF | TweF | NinA | NiVA | FifB | Either | abs_dif | Underzero | both
Numeric SAS Recoding | [10 empty] | VarA | VarB | VarC | VarD | VarE | VarF

## Disc analyses
Table 17. Quantitative PCR Summary of Control Samples (Suspected Single Serotypes) of the 6 Most Prevelent Serotypes in Peru.
NP Sample Number | Serotype# | S. pneumoniae Run 1* (lytA) | S. pneumoniae Confirmatory Run* (lytA) | 6A/B* | 19F* | 23F* | 9V/A* | 15B/C* | 19A* | Log Difference in Run 1 (1=yes, 0=no) | Supsected qPCR resuls | THY Multiplex Results | Difference between Run 1 LytA DNA and Serotype-Specific DNA | % Difference between Run 1 LytA DNA and Serotype-Specific DNA
10 | 6A/B/C | 12860151.1464 | - | 10513687.0079 | - | - | - | - | - | 0 | 6A/B | 6A/B/C | 2346464.1385 | 18.246
29 | 6A/B/C | 7003810.2526 | - | 7597312.3225 | - | - | - | - | - | 0 | 6A/B | 6A/B/C | -593502.0699 | -8.474
41 | 6A/B/C | 1892986.2937 | - | 1965032.4625 | - | - | - | - | - | 0 | 6A/B | 6A/B/C | -72046.1687 | -3.806
46 | 19F | 13179203.8061 | - | - | 25360268.4243 | - | - | - | - | 0 | 19F | 19F | -12181064.6181 | -92.4264
50 | 6A/B/C | 9454624.9918 | - | 8361172.593 | - | - | - | - | - | 0 | 6A/B | 6A/B/C | 1093452.3988 | 11.5653
52 | 6A/B/C | 2849404.474 | - | 2263718.3626 | - | - | - | - | - | 0 | 6A/B | 6A/B/C, 16F | 585686.1114 | 20.5547
60 | 6A/B/C | 7458211.6915 | - | 2831598.5053 | - | - | - | - | - | 0 | 6A/B | 6A/B/C | 4626613.1862 | 62.0338
65 | 19F | 5667033.0974 | - | - | 2986446.9095 | - | - | - | - | 0 | 19F | 19F, 11A | 2680586.1879 | 47.3014
74 | 6A/B/C | 18301587.5188 | - | 16558203.7826 | - | - | - | - | - | 0 | 6A/B | 6A/B/C | 1743383.7362 | 9.5259
75a | 15B | 5005238.7666 | 4948412.288 | - | - | - | - | 2450695.0586 | - | 0 | 15B | 6A/B/C, 15B/C | 2554543.708 | 51.0374
85 | 19A | 1128512.4912 | - | - | - | - | - | - | 1910881.2883 | 0 | 19A | 19A | -782368.797 | -69.3274
92a | 9V/A | 7540678.6435 | 5436442.128 | 1289242.769 | - | - | 7017176.5278 | - | - | 0 | 9V/A, 6A/B | 9V, 6A/B/C | 523502.1157 | 6.9424
94 | 19F | 1318027.9386 | - | - | 2253625.3838 | - | - | - | - | 0 | 19F | 19F | -935597.4452 | -70.9846
102 | 6A/B/C | 8107714.4752 | - | 6789912.658 | - | - | - | - | - | 0 | 6A/B | 6A/B/C | 1317801.8172 | 16.2537
106 | 19F | 2812303.9289 | - | - | 5464008.9146 | - | - | - | - | 0 | 19F | 19F | -2651704.9857 | -94.2894
109 | 6A/B/C | 15294421.362 | - | 14525265.1926 | - | - | - | - | - | 0 | 6A/B | 6A/B/C | 769156.1694 | 5.029
110 | 6A/B/C | 1079614.1966 | - | 1070512.3155 | - | - | - | - | - | 0 | 6A/B | 6A/B/C | 9101.8811 | 0.84307
134 | 19A | 8026827.1781 | - | - | - | - | - | - | 9439657.0752 | 0 | 19A | 19A, 7F | -1412829.8971 | -17.6013
136 | 6A/B/C | 1958461.4023 | - | 1989850.6722 | - | - | - | - | - | 0 | 6A/B | 6A/B/C | -31389.2699 | -1.6028
173 | 6A/B/C | 3735083.0866 | - | 1285461.6091 | - | - | - | - | - | 0 | 6A/B | 6A/B/C | 2449621.4776 | 65.5841
190a | 6A/B/C | 23295359.8434 | 5821235.8985 | 12734297.1434 | - | - | - | 198627.4368 | - | 0 | 6A/B, 15B/C | 6A/B/C, 15B/C, 35F | 10561062.7 | 45.3355
192 | 6A/B/C | 6817146.0923 | - | 6340473.3769 | - | - | - | - | - | 0 | 6A/B | 6A/B/C | 476672.7154 | 6.9923
212 | 19F | 5295854.6295 | - | - | 10975098.5352 | - | - | - | - | 0 | 19F | 19F | -5679243.9057 | -107.2394
218 | 19F | 2138529.7832 | - | - | 4029507.4195 | - | - | - | - | 0 | 19F | 19F | -1890977.6363 | -88.4242
236 | 6A/B/C | 1220876.2664 | - | 1340381.4568 | - | - | - | - | - | 0 | 6A/B | 6A/B/C | -119505.1904 | -9.7885
244 | 6A/B/C | 1166771.7126 | - | 1017827.6179 | - | - | - | - | - | 0 | 6A/B | 6A/B/C | 148944.0947 | 12.7655
264 | 19A | 11768873.0974 | - | - | - | - | - | - | 14923930.9612 | 0 | 19A | 19A | -3155057.8638 | -26.8085
266a | 9V/A | 4590858.1679 | 4019379.9865 | - | - | - | 5117212.5212 | - | - | 0 | 9V/A | 9V/A, 6A/B/C | -526354.3533 | -11.4653
274 | 19F | 1352397.7726 | - | - | 2608502.9333 | - | - | - | - | 0 | 19F | 19F | -1256105.1607 | -92.8799
296 | 6A/B/C | 16057898.4841 | - | 11476184.1896 | - | - | - | - | - | 0 | 6A/B | 6A/B/C | 4581714.2945 | 28.5325
297 | 15B | 1414529.817 | - | - | - | - | - | 1046601.4514 | - | 0 | 15B | 15B/C | 367928.3656 | 26.0106
299 | 19F | 10948573.2046 | - | - | 20963627.4246 | - | - | - | - | 0 | 19F | 19F | -10015054.22 | -91.4736
335 | 6A/B/C | 1333720.0491 | - | 1161725.3252 | - | - | - | - | - | 0 | 6A/B | 6A/B/C | 171994.7239 | 12.8959
337 | 6A/B/C | 1631766.9631 | - | 1405085.4849 | - | - | - | - | - | 0 | 6A/B | 6A/B/C | 226681.4782 | 13.8918 |  |  |  | Unequal vairance
341 | 6A/B/C | 7648997.0149 | - | 5857141.703 | - | - | - | - | - | 0 | 6A/B | 6A/B/C, 35A | 1791855.3119 | 23.426 |  |  | sx1-sx2 | t | df | p-value
343 | 15B | 1419132.4457 | - | - | - | - | - | 1200285.896 | - | 0 | 15B | 15B/C | 218846.5497 | 15.4212 |  |  | 7.9037 | 11.5105 | 48.2015 | < .00001
371 | 9V/A | 11967240.2332 | - | - | - | - | 10944430.3632 | - | - | 0 | 9V/A | 9V/A | 1022809.87 | 8.5467
470 | 6A/B/C/19F | 3125264.7362 | - | 2828131.7105 | - | - | - | - | - | 0 | 6A/B | 6A/B/C | 297133.0257 | 9.5075
479 | 15B | 1253838.5676 | - | - | - | - | - | 1231851.3787 | - | 0 | 15B | 15B/C | 21987.1889 | 1.7536
491a | 19A | 1119342.8202 | 905530.2837 | - | - | - | - | - | 1840121.8359 | 0 | 19A | 19A, 6A/B/C | -720779.0157 | -64.3931 |  | Values used for two-sample t-test
Average | - | 6256021.7111 | 4226200.1169 | 5509191.7391 | 9330135.7431 | - | 7692939.8041 | 1225612.2443 | 7028647.7901 | - | - | - | -35900.9338 | -8.2747 | 82.7009 | sp2 | T | p-value
#Molecular serotype of S. pneumoniae strain isolated from NP swabs. | [13 empty] | 46.8834 | 11.3046 | 36.5332 | 8.6011 | <0.00001
*CFU/ml quantified by qPCR assays.
aThese samples had a 2nd set of qPCRs run on them as the result of their THY Mulitplex results.
Note: Values in bold are the serotype-specific DNA values from the first set of qPCR runs. (for samples having more than one set of qPCR runs)
TOTAL LYT A
|  | 12860151.1464 | 12.8602 | 1420000 | 1.42 |  |  |  | N | Mean | StDev | SE Mean | 2 Sample t Tutorial
|  | 7003810.2526 | 7.0038 | 6600000 | 6.6 |  |  | Sample 1 | 17 | 2219329.412 | 3245449.9767 | 787137.239
|  | 1892986.2937 | 1.893 | 1810000 | 1.81 |  |  | Sample 2 | 40 | 6256021.71 | 5567292.022 | 880266.159
|  | 13179203.8061 | 13.1792 | 12400000 | 12.4 |  |  | Observed difference (Sample 1 - Sample 2): -4036692.298
|  | 9454624.9918 | 9.4546 | 81500 | 0.0815 |  |  | Standard Deviation of Difference : 1180869.8251
|  | 2849404.474 | 2.8494 | 4400000 | 4.4
|  | 7458211.6915 | 7.4582 | 1630000 | 1.63 |  |  | Unequal Variances
|  | 5667033.0974 | 5.667 | 373000 | 0.373 |  |  | DF : 49
|  | 18301587.5188 | 18.3016 | 787000 | 0.787 |  |  | 95% Confidence Interval for the Difference ( -6409768.2985 , -1663616.2975 )
|  | 5005238.7666 | 5.0052 | 717000 | 0.717 |  |  | T-Value -3.4184
|  | 1128512.4912 | 1.1285 | 386000 | 0.386 |  |  | Population 1 ≠ Population 2: P-Value = 0.0012
|  | 7540678.6435 | 7.5407 | 46100 | 0.0461 |  |  | Population 1 > Population 2: P-Value = 0.9994
|  | 1318027.9386 | 1.318 | 945000 | 0.945 |  |  | Population 1 < Population 2: P-Value = 0.0006
|  | 8107714.4752 | 8.1077 | 197000 | 0.197
|  | 2812303.9289 | 2.8123 | 550000 | 0.55 |  |  | Equal Variances
|  | 15294421.362 | 15.2944 | 4980000 | 4.98 |  |  | Pooled Standard Deviation: 5004220.0495
|  | 1079614.1966 | 1.0796 | 406000 | 0.406 |  |  | Pooled DF: 55
|  | 8026827.1781 | 8.0268 |  |  |  |  | 95% Confidence Interval for the Difference ( -6403155.4275 , -1670229.1685 )
|  | 1958461.4023 | 1.9585 |  |  |  |  | T-Value -2.7862
|  | 3735083.0866 | 3.7351 |  |  |  |  | Population 1 ≠ Population 2: P-Value = 0.0074
|  | 23295359.8434 | 23.2954 |  |  |  |  | Population 1 > Population 2: P-Value = 0.9963
|  | 6817146.0923 | 6.8171 |  |  |  |  | Population 1 < Population 2: P-Value = 0.0037
|  | 5295854.6295 | 5.2959
|  | 2138529.7832 | 2.1385
|  | 1220876.2664 | 1.2209
|  | 1166771.7126 | 1.1668
|  | 11768873.0974 | 11.7689
|  | 4590858.1679 | 4.5909
|  | 1352397.7726 | 1.3524
|  | 16057898.4841 | 16.0579
|  | 1414529.817 | 1.4145
|  | 10948573.2046 | 10.9486
|  | 1333720.0491 | 1.3337
|  | 1631766.9631 | 1.6318
|  | 7648997.0149 | 7.649
|  | 1419132.4457 | 1.4191
|  | 11967240.2332 | 11.9672
|  | 3125264.7362 | 3.1253
|  | 1253838.5676 | 1.2538
|  | 1119342.8202 | 1.1193